## February 2026
City of Fruita
Addendum 2 Bid Schedule - 2026 Sewer/Streets Improvements Project
Project Number: IFB-COF-5-26
No. | Item | Unit | Quantity | Unit Cost | Extension
1 | Mobilization/Demobilization | LS | 1 |  | 0
2 | Construction Surveying | LS | 1 |  | 0
3 | Material Testing | LS | 1 |  | 0
4 | Stormwater Management | LS | 1 |  | 0
5 | Traffic Control | LS | 1 |  | 0
6 | (1) Variable Message Board | Day | 10 |  | 0
7 | Construction Dewatering | LS | 1 |  | 0
8 | Sewage Bypass Pumping | LS | 1 |  | 0
9 | Remove/Dispose of Exst. Asphalt (Full-Depth) | SY | 8000 |  | 0
10 | Remove/Dispose of Exst. Asphalt (Partial-Depth) | SY | 1762 |  | 0
11 | Remove/Dispose of Exst. Concrete | SF | 4800 |  | 0
12 | Remove/Dispose of Lime Subgrade | SY | 1320 |  | 0
13 | Remove/Dispose of Exst. Sewer Manhole | Each | 5 |  | 0
14 | Modify Exst. Sewer Manhole | LS | 1 |  | 0
15 | 48" Precast Manhole | Each | 6 |  | 0
16 | 48" Cast-in-Place Manhole | Each | 3 |  | 0
17 | 8" SDR-35 PVC Sewer Pipe | LF | 241 |  | 0
18 | 10" SDR-35 PVC Sewer Pipe | LF | 598 |  | 0
19 | 12" SDR-35 PVC Sewer Pipe | LF | 565 |  | 0
20 | 4" SDR-35 PVC Sewer Service Pipe | LF | 160 |  | 0
21 | 6" SDR-35 PVC Sewer Service Pipe | LF | 30 |  | 0
22 | 12"x6" PVC Wye Fittings (Sewer Taps) | Each | 1 |  | 0
23 | 12"x4" PVC Wye Fittings (Sewer Taps) | Each | 2 |  | 0
24 | 10"x4" PVC Wye Fittings (Sewer Taps) | Each | 1 |  | 0
25 | 8"x4" PVC Wye Fittings (Sewer Taps) | Each | 3 |  | 0
26 | Storm Drain Inlet/Curb Opening | Each | 1 |  | 0
27 | Storm Drain Inlet/V-Opening | Each | 1 |  | 0
28 | 12" RCP Storm Drain | LF | 42 |  | 0
29 | Modify Exst. Storm Drain Manhole | LS | 1 |  | 0
30 | Export Unsuitable Backfill Material | CY | 2000 |  | 0
31 | Structural Backfill Material | Ton | 3100 |  | 0
32 | Trench Stabilization Rock | Ton | 560 |  | 0
33 | Excavation (Reed Park Parking Lot) | CY | 421 |  | 0
34 | Cl. 6 Aggregate Base Course | Ton | 800 |  | 0
35 | Variable-Width Curb, Gutter & Sidewalk | LF | 25 |  | 0
36 | Variable-Width Concrete Driveway Pan | LF | 95 |  | 0
37 | 5'-Wide Concrete V-Pan | LF | 75 |  | 0
38 | 2'-Wide Concrete V-Pan | LF | 149 |  | 0
39 | 12"-High, 6"-Wide Concrete Curb | LF | 40 |  | 0
40 | 2'-Wide Concrete Curb & Gutter | LF | 296 |  | 0
41 | Replace Curb/Flatwork at Storm Drain Manhole | LS | 1 |  | 0
42 | Concrete Curb Ramp/Fillet - S.E. Corner of Harrison Intersection | LS | 1 |  | 0
43 | Concrete Curb Ramp/Fillet - N.E. Corner of Harrison Intersection | LS | 1 |  | 0
44 | Concrete Curb Ramp - N.W. Corner of Harrison Intersection | LS | 1 |  | 0
45 | Concrete Curb Ramps/Fillets - Carolina Ave. | LS | 1 |  | 0
46 | Concrete Pedestrian Bulbouts | Each | 2 |  | 0
47 | Install RRFB Footers | Each | 2 |  | 0
48 | Hot-Mix Asphalt/Leveling Course (Fiber-Reinforced) | Ton | 132 |  | 0
49 | Hot-Mix Asphalt/Partial Depth/Overlay (Fiber-Reinforced) | Ton | 466 |  | 0
50 | Hot-Mix Asphalt/Full-Depth (Standard/No Fiber) | Ton | 1720 |  | 0
51 | Set Manhole Lid to Finished Grade | Each | 14 |  | 0
52 | Set Valve Lid to Finished Grade | Each | 16 |  | 0
53 | New 6" Fire Hydrant Water Line/Hydrant | LS | 1 |  | 0
54 | Relocate Water Line | Each | 3 |  | 0
55 | Street Striping - 4" Yellow or White | LF | 6000 |  | 0
56 | Thermoplastic Pavement Markings | SF | 220 |  | 0
57 | Contingency | LS | 1 | 160000 | 160000
58 | Remove/Dispose of Exst. Sewer Pipeline | LF | 229 |  | 0
| Total Base Bid Amount |  | 160000
| Alternate Bid Items - Do Not Include in Base Bid Amount |  |  | Unit Cost | Extension
1A | 48" Precast Manhole (Polymer Concrete) | Each | 6 |  | 0
2A | 8" Ribbed PVC Sewer Pipe | LF | 241 |  | 0
3A | 10" Ribbed PVC Sewer Pipe | LF | 598 |  | 0
4A | 12" Ribbed PVC Sewer Pipe | LF | 565 |  | 0
Company Name:
By:
Date: