## Bid Schedule
BID SCHEDULE - City of Rifle Lift Station
CONTRACT ITEM NO. | CONTRACT ITEM | UNIT | QTY | UNIT COST | TOTAL COST | UNIT COST | TOTAL COST | UNIT COST | TOTAL COST
1 | MOBILIZATION | LS | 1
2 | TRAFFIC CONTROL | LS | 1
3 | EROSION CONTROL | LS | 1
4 | CONSTRUCTION SURVEYING AND UTILITY LOCATING | LS | 1
5 | DEMOLITION AND REMOVAL OF STRUCTURES | LS | 1
6 | INFLUENT HEADWORKS CHANNEL MODIFICATIONS | LS | 1
7 | 15-INCH SDR 35 GRAVITY SEWER PIPE | LF | 15
8 | STANDARD MANHOLE | EA | 1
9 | 18-INCH SDR 35 GRAVITY SEWER PIPE | LF | 95
10 | 6 FT DIA. DIVERSION MANHOLE | EA | 1
11 | INTERIOR 8-INCH DIP and VAC CONNECTION 6-INCH DIP | LF | 65
12 | PROCESS VALVES | EA | 2
13 | BURIED 8-INCH FUSED HDPE | LF | 150
14 | LIFT STATION SLIDE GATES | EA | 2
15 | BURIED C900 PIPING AND FITTINGS | LF | 15
16 | PACKAGED LIFT STATION | LS | 1
17 | ELECTRICAL POWER AND PANELS | LS | 1
18 | INSTRUMENTATION AND CONTROLS | LS | 1
19 | SCADA PROGRAMMING AND START-UP | LS | 1
20 | BACK UP GENERATOR | LS | 1
21 | CONCRETE WETWELL | LS | 1
22 | WETWELL APPRUTENANCES | LS | 1
23 | CONCRETE COATINGS | LS | 1
24 | PIPE COATINGS | LS | 1
25 | HYDROSEEDING | LS | 1
26 | FENCE RELOCATION | LS | 1
|  | TOTAL |  |  | 0 |  | 0 |  | 0
20A1 | CONCRETE COATINGS ALT 1 | LS | 1
20A2 | WATERPROOFING ADMIXTURE | CY | 1