Attachment B Scope of Work
NC26-76
Vernal Building Demolition

Vendor Responsibilities:
· The vendor is expected to demolish the State of Utah-owned building at 70 E 100 S in Vernal, Utah. 
· The building is a 2400 square foot building with no basement. Awarded vendor will demolish the building and foundation and remove surface asphalt and concrete (excluding sidewalk) from the parcel, carry all demolished materials off site and properly dispose. Vendor is asked to NOT add fill dirt nor regrade the parcel after building demolition
Division of Air Quality Responsibilities:
· The Agency (Division of Air Quality) will ensure all utilities are disconnected prior to scheduled demolition. The agency will provide certification that the building has passed asbestos inspection. The agency will coordinate with Vernal City to acquire a demolition permit. The agency can provide a staff member to meet onsite with potential bidders for a brief site visit if needed during the time the bid is posted.
Deadline for completion of work:
· Full demolition and haul away of materials to be complete no later than August 31, 2026.

